## Dataset Overview
DATASET OVERVIEW
Parameter | Value
Total records | 8479
Date range start | 2024-01-01 00:00:00+00:00
Date range end | 2024-12-31 23:00:00+00:00
Days analysed | 364
Missing days (count) | 2
Missing dates | 2024-02-24, 2024-02-25
HUB HEIGHT SELECTION
Rotor diameter (m) | 220
Blade radius (m) | 110
Min blade tip clearance (m) | 22
Min hub height (m) | 132
Adopted hub height (m) | 150
Power-law shear exponent α | 0.11
Reference height (m) | 4
Extrapolation factor | 1.4899

## Wind Statistics
WIND RESOURCE STATISTICS - ALL HOURS
Statistic | At 4 m measurement height (m/s) | At 150 m hub height (m/s)
Mean | 7.44 | 11.08
Median | 7.2 | 10.73
Std Dev | 3.38 | 5.04
Min | 0.35 | 0.52
Max | 23.6 | 35.17

## Wind Distribution
WIND SPEED DISTRIBUTION AT HUB HEIGHT (150 m)
Range (m/s) | Count (hours) | Frequency (%)
0-7 | 1935 | 22.82
7-10 | 1810 | 21.35
10-13 | 1875 | 22.11
13-16 | 1509 | 17.8
16-20 | 936 | 11.04
20+ | 414 | 4.88
Total | 8479 | 100

## Weibull Parameters
WEIBULL DISTRIBUTION PARAMETERS
Parameter | At 4 m measurement height | At 150 m hub height
Shape parameter k | 2.3313 | 2.3313
Scale parameter C (m/s) | 8.3944 | 12.5063